## Slide 1: Q.1 Radiation dose of CT scan of Head and Neck is equivalent to :
50 chest x-rays
100 chest x-rays
150 chest x-rays
200 chest x-rays

## Slide 2: Q2. How many pixels are required to resolve one line pair ?
1
2
3
4

## Slide 3: Q3.First Direct Digital Imaging System(RVG) was introduced in the year :
1980
1984
1988
1982

## Slide 4: Q4. Size of a Pixel in CCD is approximately:
10 microns
20 microns
30 microns
40 microns

## Slide 5: Q5. Radiation effective dose of CBCT is:
13 µSv
1-8 µSv
36-50 µSv
5-16 µSv

## Slide 6: Q6. Most commonly used imaging for assessment of implant:
Intra oral periapical radiograph
Lateral Cephalogram
Panoramic radiograph
Dentascan